## Project Information
Facilities Operations and Development
Sustainability Applicability Matrix (SAM)
INSTRUCTIONS: the green highlighted cells within the Sustainability Applicability Matrix shall be completed to identify which sustainability requirements are applicable to the project based on project type, scope, and budget. Additionally, once the 'Project Information' and 'Matrix' tabs are completed, the applicable 'Checklist' tabs will self populate and shall be used by the Project Team. Please upload completed matrix to the eBuilder Platform. Note: Projects with a total construction cost below $75k may choose to complete and submit the under 75k SAM.
Project Number
Project Name
Brief Project Description
| University Jurisdiction | Facilities Operations and Development
Project Manager
Date
| Total Project Cost | 10000
| Type of Project | Repairs or Alterations
Prepared by
Project Manager (or Designee)
Matrix Update Date: 05-09-2023

## Matrix
Sustainability Applicability Matrix (SAM)
INSTRUCTIONS: Click the checkbox for each of the categories impacted by the project, which will identify the applicable sections within BDS Division 18 that the design team shall follow. Categories that are grayed out are not applicable based on a combination of project budget and type.
Project Name:
Project Number:
Project Type: Renovation
Sustainability Categories |  |  |  |  | Applicable Sections to Review |  |  | Reviewer
COMMISSIONING
|  |  |  | Instructions: Please click the checkbox if the project includes the space types below. Any work performed for CSI Division 22, 23, 25, and 26 shall follow the commissioning requirements indicated for that specific space. |  |  |  |  | temp temp
|  |  |  | Space Type | Fundamental & Enhanced Commissioning |  | Notes
[5 empty] | n/a |  | n/a |  | temp temp
[5 empty] | n/a |  | n/a |  | temp temp
[5 empty] | n/a |  | n/a |  | temp temp
|  |  |  | Instructions: For space types not indicated above, please select from the dropdowns for project scope that includes work in the CSI Division indicated below. The combination of the anticipated cost and scope of work will indicate the level of commissioning. |  |  |  |  | temp temp
|  |  |  | CSI Division | Fundamental Commissioning | Enhanced Commissioning | Notes
Division 22 - Plumbing
Division Construction Cost Scope of work
[5 empty] | n/a | n/a | n/a |  | temp temp
Division 23 - Mechanical
Division Construction Cost Scope of work
[5 empty] | n/a | n/a | n/a |  | temp temp
Division 25 - Controls / Integrated Automation
Division Construction Cost Scope of work
[5 empty] | n/a | n/a | n/a |  | temp temp
Division 26 - Electrical
Division Construction Cost Scope of work
[5 empty] | n/a | n/a | n/a |  | temp temp
ENERGY EFFICIENCY
|  | 0 | TRUE | HVAC
|  | 0 | TRUE | Lighting (Indoor)
|  | 0 | TRUE | Lighting (Outdoor)
|  | 0 | TRUE | Electrical Equipment (e.g. motors or pumps)
|  | 0 | TRUE | Building Envelope
|  | 0 | TRUE | Water Heating
|  | 0 | TRUE | Power Distribution Systems
|  | FALSE | FALSE | Site EUI Performance
WATER USE EFFICIENCY
|  | 0 | TRUE | Landscape Design
|  | 0 | TRUE | Irrigation
|  | 0 | TRUE | Plumbing Fixtures and Fittings
|  | 0 | TRUE | Appliances (Dish Washers, Clothes Washers, Ice Machines)
|  | 0 | TRUE | HVAC (Cooling Towers and Evaporative Coolers)
|  | 0 | TRUE | Roof Spray Systems
|  | 0 | TRUE | Commercial Food Service Operations
|  | 0 | TRUE | Medical and Laboratory Facilities
|  | 0 | TRUE | Special Water Features (Fountains, Pools, Spas)
|  | 0 | TRUE | Water Softeners
|  | 0 | TRUE | Reverse Osmosis Water Treatment Systems
|  | FALSE | FALSE | Water Use Intensity
ECOSYSTEM SERVICES IMPROVEMENT
|  | 0 | FALSE | Impact to outdoor landscape / exterior site work |  |  |  | 0
MATERIALS
|  | 0 | FALSE | Construction Materials
| FALSE | FALSE | FALSE | Construction Waste
|  | 0 |  | Post-Occupancy Trash, Recycling, and Compost Collection
USER EXPERIENCE/INDOOR ENVIRONMENTAL QUALITY
|  | 0 | TRUE | HVAC
|  | 0 | TRUE | Lighting (Indoor)
|  | 0 | TRUE | Lighting (Outdoor)
|  | 0 | TRUE | Interior Materials and Finishes
|  | 0 | TRUE | Entrance/Exit Modifications
Reset Check Boxes
Laboratory / Research
Data Center
Food Service
Note on D18: Gillund, Tony: used in the 'Reset Check Boxes' Macro
Note on D19: Gillund, Tony: used in the 'Reset Check Boxes' Macro
Note on D20: Gillund, Tony: used in the 'Reset Check Boxes' Macro

## Small Project Checklist
SMALL PROJECT CHECKLIST
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | REQUIREMENT | NOTES | Task Completed by | Task Reviewed by | Task Approved by
GENERAL |  | 00 00 17.1.1 Submit update Sustainability Applicability Matrix through eBuilder
GENERAL |  | 00 00 17.1.2 Submit updated OPR through eBuilder (if applicable) |  | A/E | 0 | 0
|  | 0 |  | 0 | 0 | 0

## MATRIX TABLE (hidden)
Energy |  |  | New Building project type selected | Project type other than NB selected | HVAC | Lighting (Indoor) | Lighting (Outdoor) | Electrical Equipment (e.g. motors or pumps) | Building Envelope | Water Heating | Power Systems | Applicable (meets cost threshold) | Cost Threshold
[5 empty] | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE |  |  |  | 0 | PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST
Commissioning | IF(AND(OR(D3:E3=TRUE),OR(F3:L3=TRUE),'Project Information'!$D$19>='MATRIX TABLE'!O3),MAX($B$2:B2)+1,0) | 18 20 00 - Building Systems Commissioning | FALSE |  | FALSE | FALSE | FALSE |  |  |  | FALSE | FALSE | 250000
| 0 | 18 20 60.3 - Building Enclosure Testing | FALSE | TRUE |  |  |  |  | FALSE |  |  |  | 500000
| 0 | 18 20 60.2 - Building Enclosure Commissioning (pending cost <5% total budget) | FALSE | TRUE |  |  |  |  | FALSE |  |  |  | 1000000 | 1 | Lookup Tables | Full Commissioning Required | 1 | University Entity
| 0 | 18 20 60.2 - Building Enclosure Commissioning (pending cost <10% total budget) | FALSE | TRUE |  |  |  |  | FALSE |  |  |  | 4000000 | 1 | Repairs or Alterations |  | 1 | Facilities Operations and Development
| 0 | 18 20 00 - Building Enclosure Commissioning | FALSE | TRUE |  |  |  |  | FALSE |  |  | FALSE | 4000000 | 2 | Additions |  | 2 | Wexner Medical Center
ASHRAE codes required along with modeling | 0 | 18 30 30 - Automated Demand Response | FALSE | TRUE | FALSE | FALSE | [5 empty] | TRUE | 0 | 3 | Renovation |  | 3 | Student Life
| 0 | 18 30 30.1 - Automatic Control of HVAC and Lights | FALSE | TRUE | FALSE | FALSE | [5 empty] | TRUE | 0 | 4 | New Building Construction or Whole Building Renovation* |  | 4 | Other
| 0 | 18 30 35 - Environmental Controls | FALSE | TRUE | FALSE | FALSE | [5 empty] | TRUE | 0 | 5 | Other*
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 5.4 Building Envelope | FALSE | [5 empty] | FALSE |  |  | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 6.4 HVAC | FALSE |  | FALSE | [6 empty] | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 7.4 Service Water Heating | FALSE | [6 empty] | FALSE |  | TRUE | 0 |  | *Existing buildings where the mechanical, electrical, and building envelope are all completely renovated and updated to code
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 8.4 Power | FALSE | [7 empty] | FALSE | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 9.4 Lighting | FALSE |  |  | FALSE | FALSE |  |  |  |  | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.6-2016, 10.4 Other Equipment | FALSE |  |  |  |  | FALSE |  |  |  | TRUE | 0
ASHRAE codes required of projects other than New Buildings | 0 | 18 30 20.1 - ASHRAE 90.1-2016, 5 Building Envelope |  | TRUE |  |  |  |  | FALSE |  |  | TRUE | 0 |  | *Project does not include a building
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 6 HVAC |  | TRUE | FALSE | [6 empty] | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 7 Service Water Heating |  | TRUE | [5 empty] | FALSE |  | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 8 Power |  | TRUE | [6 empty] | FALSE | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 9 Lighting |  | TRUE |  | FALSE | FALSE |  |  |  |  | TRUE | 0
| 0 | 18 30 20.1 - ASHRAE 90.1-2016, 10 Other Equipment |  | TRUE |  |  |  | FALSE |  |  |  | TRUE | 0
Building Modeling | 0 | 18 30 20.2 - ASHRAE 90.1-2016 App G - Performance Rating Method | FALSE |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 4000000
Site EUI Performance | 0 | 18 30 40 - Site EUI Performance |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 4000000
LCCA | 0 | 18 80 00 - Life-Cycle Cost Analysis for Energy Systems | FALSE | TRUE | [7 empty] | FALSE | 250000
IF(AND(D21=TRUE,'Project Information'!$D$19>='MATRIX TABLE'!O21),MAX($B$2:B20)+1,0)
Water
| 0 | 18 40 30.1 - Landscape Design | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 30.2 - Irrigation | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.1 - Plumbing Fixtures and Fittings | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.2 - Appliances | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.3 - HVAC Systems and Equipment | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.4 - Roof Spray & Vegetated Roofs | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.5 - Commercial Food Service Operations | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.6 - Medical and Laboratory Facilities | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.7 - Special Water Features | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.9 - Water Softeners | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.10 - Reverse Osmosis (RO) Water Treatment Systems | FALSE | [8 empty] | TRUE | 0
| 0 | 18 40 40.11 - Water Use Intensity | FALSE | [8 empty] | FALSE | 4000000
| 0 | 17 80 00 - Life-Cycle Cost Analysis for Water Softener alternatives | FALSE | [8 empty] | FALSE | 500000
| 0 | 18 80 00 - Life-Cycle Cost Analysis for RO Treatment Systems | FALSE | [8 empty] | FALSE | 500000
Ecosystem Services |  |  | Impact to outdoor landscape / exterior site work | [8 empty] | Applicable (project type or exceeds cost threshold) | Cost Threshold
| 0 | 18 50 10 - Ecosystem Services Index Assessment | 0 | [8 empty] | FALSE | 250000
| 0 | Consult University Landscape Architect | 0 | [8 empty] | FALSE | 250000
Materials |  |  | New/Major Rebuild | Not Repairs (as LCCA will not be required on repairs) | Renovation/Repair/Addition | Construction Waste | Recycling, Compost, Trash Collection | Construction Materials | Interior Materials and Finishes | Building Envelope |  | Applicable (project type or exceeds cost threshold) | Cost Threshold
|  | Project Cost Applicable |  |  |  | FALSE | TRUE | FALSE
| 0 | 18 60 30 - Sustainable Material Calculator | FALSE |  | TRUE |  |  | FALSE |  |  |  | FALSE | 4000000
| 0 | 18 60 30 - Prescriptive Materials Matrix | FALSE |  | TRUE |  |  | FALSE |  |  |  | FALSE | 4000000
| 0 | 18 60 40.1 - Construction and Demolition Waste Management Plan | FALSE |  | TRUE | FALSE | [5 empty] | FALSE | 1000000
| 0 | 18 60 40.2 - Construction and Demolition Tracking | FALSE |  | TRUE | FALSE | [5 empty] | FALSE | 1000000
| 0 | 18 60 50 - Materials Management Planning | FALSE |  | TRUE |  | FALSE |  |  |  |  | TRUE | 0
| 0 | 18 60 30.1 - Life-Cycle Cost Analysis for specific Materials |  | FALSE |  |  |  | FALSE | FALSE | FALSE |  | FALSE | 500000
User Experience |  |  | New/Major Rebuild | Renovation/Repair/Addition | HVAC | Lighting (Indoor) | Lighting (Outdoor) | Interior Materials and Finishes | Entrance/Exit Modifications |  |  | Applicable (project type or exceeds cost threshold) | Cost Threshold
|  | Project Cost Applicable |  |  | TRUE | TRUE | TRUE | TRUE | TRUE
| 0 | 18 70 30.1 - Ventilation and IAQ Requirements | FALSE | TRUE | FALSE | [6 empty] | TRUE | 0
| 0 | 18 70 30.2 - IAQ Management Plan | FALSE | TRUE | FALSE |  |  | FALSE |  |  |  | FALSE | 250000
| 0 | 18 70 30.3 - IAQ Testing | FALSE | TRUE | FALSE |  |  | FALSE |  |  |  | FALSE | 250000
| 0 | 18 70 30.4 - Building Entrances | FALSE | TRUE |  |  |  |  | FALSE |  |  | FALSE | 4000000
| 0 | 18 70 30.5 - Interior Materials and Finishes | FALSE | TRUE |  |  |  | FALSE | FALSE |  |  | TRUE | 0
| 0 | 18 70 40 - Thermal Comfort | FALSE | TRUE | FALSE | [6 empty] | TRUE | 0
| 0 | 18 70 50.1 - HVAC Background Noise Levels | FALSE | TRUE | FALSE | [6 empty] | TRUE | 0
| 0 | 18 70 50.2 - Sound Transmission Class and Reverberation | FALSE | TRUE | FALSE |  |  | FALSE |  |  |  | TRUE | 0
| 0 | 18 70 55 - Equipment Vibration Performance | FALSE | TRUE | FALSE | [6 empty] | TRUE | 0
| 0 | 18 70 60 - Daylighting and Lighting Quality | FALSE | TRUE |  | FALSE | [5 empty] | TRUE | 0
| 0 | 18 70 60.4 - Exterior Lighting | FALSE | TRUE |  |  | FALSE |  |  |  |  | TRUE | 0
| 0 | 18 70 70 - Connection to Nature | FALSE | TRUE |  |  |  | FALSE |  |  |  | FALSE | 250000
might be an issue with column D and E.... if it is additions, seems like Cx doesn't show up?
-what is going on with row 46?
Note on S2: Rappleye, John W.: Minimum project cost enter here.
Note on V2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: do not edit cells
Note on V3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: do not edit cells
Note on B4: Gillund, Tony: note: 6-23-21 specific formula in order to work with the Building Enclusore Commissioning Applicability Table
Note on V4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: see formula
Note on B5: Gillund, Tony: see note above
Note on R5: Rappleye, John W.: linked to project type dropdown box on Project Information tab
Note on X5: Gillund, Tony: changes from Project Information tab
Note on B6: Gillund, Tony: see note above
Note on S6: Rappleye, John W.: Drop Down Box on Proj Info tab linked to these cells
Note on B7: Gillund, Tony: see note above
Note on S13: Rappleye, John W.: Linked to conditional formula in Proj Info sheet D23
Note on B24: Gillund, Tony: had to create this formula a little differently for EUI to go with Additions as well.
Note on D27: Gillund, Tony: not sure why the file has all the water information under the NC category?
Note on B49: Gillund, Tony: note, slightly different formula as this only applies to projects below $4M
Note on O49: Gillund, Tony: see note in cellB46

## Small Proj TABLE (hidden)
General |  |  | SMALL PROJECT |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost Limit for Small Projects | Matrix Check Boxes & Notes |  | Completed? | Notes
| 1 | General |  | 00 00 17.1.1 Submit update Sustainability Applicability Matrix through eBuilder | [6 empty] | TRUE | 250000 |  |  | TBD | BLANK
| 2 | General |  | 00 00 17.1.2 Submit updated OPR through eBuilder (if applicable) | [6 empty] | TRUE | 250000 |  |  | TBD | BLANK
Energy | 3
|  |  |  | Consulted BAS regarding applicability of 18 30 30 Automated Demand Response | [6 empty] | FALSE | 250000 | HVAC or Lighting |  | NA | NA
|  |  |  | Consulted BAS regarding applicability of 18 30 35 Environmental Controls | [6 empty] | FALSE | 250000 | HVAC or Lighting |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 5 Building Envelope | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 6 HVAC | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 7 Service Water Heating | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 8 Power | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 9 Lighting | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 30 20.1 - ASHRAE 90.1-2016, 10 Other Equipment | [6 empty] | FALSE | 250000 |  |  | NA | NA
Water
|  |  |  | Followed 18 40 10.1 - Landscape Design | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 10.2 - Irrigation | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.1 - Plumbing Fixtures and Fittings | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.2 - Appliances | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.3 - HVAC Systems and Equipment | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.4 - Roof Spray & Vegetated Roofs | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.5 - Commercial Food Service Operations | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.6 - Medical and Laboratory Facilities | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.7 - Special Water Features | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.9 - Water Softeners | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 40 40.10 - Reverse Osmosis Water Treatment Systems | [6 empty] | FALSE | 250000 |  |  | NA | NA
Ecosystem Services
|  |  |  | Consulted the University Landscape Architect on project early in design | [6 empty] | FALSE | 250000 | Exterior Site Impact | FALSE | NA | NA
Materials
|  |  |  | Engaged appropriate group (from 18 60 50) regarding impacts to Materials Management | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Provide a breif narrative on the methods to divert Construction & Demolition debris from the landfill | [7 empty] | 250000 |  |  | NA | NA
|  | MATERIALS | 18 60 30 | Prescriptive Materials Matrix followed for applicable CSI Divisions | [6 empty] | TRUE | 4000000
User Experience
|  |  |  | Followed 18 70 30.1 - Ventilation and IAQ Requirements | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 30.4 - Building Entrances | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 30.5 - Interior Materials and Finishes | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 40 - Thermal Comfort | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 50.1 - HVAC Background Noise Levels | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 50.2 - Sound Transmission Class and Reverberation | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Followed 18 70 55 - Equipment Vibration Performance | [6 empty] | FALSE | 250000 |  |  | NA | NA
|  |  |  | Comply with lighting levels indicated in 18 70 60.2 | [6 empty] | FALSE | 250000 | only certain daylighting/lighting required |  | NA | NA
|  |  |  | Comply with Control and Task Lighting standards as indicated in 18 70 60.3 | [6 empty] | FALSE | 250000 | only certain daylighting/lighting required |  | NA | NA
|  |  |  | Comply with Correlated Color Temperature standards as indicated in 18 70 60.5 | [6 empty] | FALSE | 250000 | only certain daylighting/lighting required |  | NA | NA
|  |  |  | Followed 18 70 60.4 - Exterior Lighting | [6 empty] | FALSE | 250000 |  |  | NA | NA
Note on E7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights
Note on L7: Gillund, Tony: new comment to address WMC exemption
Note on E8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights
Note on L35: Gillund, Tony: different formula

## Pre-Design Checklist
PROJECT SUSTAINABILITY CHECKLIST - End of Project Concept / Pre-design
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES | Task Completed by | Task Reviewed by | Task Approved by
GENERAL |  | 00 00 17.1.1 | Submit updated Sustainability Applicability Matrix (SAM) through eBuilder |  | 0 | 0 | 0
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder |  | A/E | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## SD Checklist
PROJECT SUSTAINABILITY CHECKLIST - Schematic Design
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES | Task Completed by | Task Reviewed by | Task Approved by
GENERAL |  | 00 00 17.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder |  | 0 | 0 | 0
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder |  | 0 | 0 | 0
GENERAL |  | 00 00 17.1.3.5 | Basis of Design narrative delivered early in SD |  |  | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## DD Checklist
PROJECT SUSTAINABILITY CHECKLIST - Design Development
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES | Task Completed by | Task Reviewed by | Task Approved by
GENERAL |  | 00 00 18.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) |  | PM | 0 | 0
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) |  | 0 | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## CD Checklist
PROJECT SUSTAINABILITY CHECKLIST - Construction Documents
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES | Task Completed by | Task Reviewed by | Task Approved by
GENERAL |  | 00 00 19.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) |  | PM | 0 | 0
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) |  | 0 | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## Const. Checklist
PROJECT SUSTAINABILITY CHECKLIST - Substantial Construction
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES
GENERAL |  | 00 00 20.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable)
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable)
|  | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## Post Const. Checklist
PROJECT SUSTAINABILITY CHECKLIST - Post Construction
Project Name:
Project Number:
Project Manager:
Project Type: Repairs or Alterations
Checklist Completion Date:
CATEGORY | COMPLETED? | SECTION | REQUIREMENT | NOTES
GENERAL |  | 00 00 21.1.1 | Submit update Sustainability Applicability Matrix (if applicable)
GENERAL |  | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable)
|  | 0 | 0
PROJECT UNDER $250,001 GO TO SMALL PROJECT CHECKLIST

## Cx Thresholds (hidden)
[5 empty] | Division 22 - Plumbing |  | Division 23 - Mechanical |  | Division 25 - Controls |  | Division 26 - Electrical
#REF!
MISSION CRITICAL ITEMS |  |  |  |  | 1 |  | 1 |  | 1 |  | 1
if TRUE |  | if FALSE |  |  | 1 |  | 1 |  | 1 |  | 1
Fundamental & Enhanced | Notes | Fundamental | Enhanced | Notes | 2 | less than $200,000 | 2 | less than $200,000 | 2 | less than $200,000 | 2 | less than $200,000
Yes for any scope of work in Divisions 22, 23, 25 ,26 | Recommend pre-design and post-construction TAB, if applicable | n/a | n/a | n/a | 3 | $200,001 - $500,000 | 3 | $200,001 - $500,000 | 3 | $200,001 - $500,000 | 3 | $200,001 - $500,000
Yes for any scope of work in Divisions 22, 23, 25 ,26 | Recommend pre-design and post-construction TAB, if applicable | n/a | n/a | n/a | 4 | $500,001 - $1M | 4 | $500,001 - $1M | 4 | $500,001 - $1M | 4 | $500,001 - $1M
Yes for any scope of work in Divisions 22, 23, 25 ,26 | Recommend pre-design and post-construction TAB, if applicable | n/a | n/a | n/a | 5 | $1M - $4M | 5 | $1M - $4M | 5 | $1M - $4M | 5 | $1M - $4M
Yes for any scope of work in Divisions 22, 23, 25 ,26 | Recommend pre-design and post-construction TAB, if applicable | n/a | n/a | n/a | 6 | greater than $4M | 6 | greater than $4M | 6 | greater than $4M | 6 | greater than $4M
#REF!
|  | Fundamental Commissioning | Enhanced Commissioning | Notes
|  | n/a | n/a | n/a | 1 | Laboratory/Research | 2 | Data Center | 3 | Patient Areas | 4 | Food Service
|  | n/a | n/a | n/a
|  | n/a | n/a | n/a
|  | n/a | n/a | n/a | [10 empty] | Fundamental | Enhanced | Notes |  | Fundamental | Enhanced | Notes |  | Fundamental | Enhanced | Notes |  | Fundamental | Enhanced | Notes
Scope of Work
[5 empty] | 1 |  | 1 |  | 1 |  | 1 |  | DIRECTIONS: the numbers in the table below relate to the numbers in the image of the table above. For instance, the first number is based on the cost (less than $200k is a '1'), and the second number is based on the scope (like for like replacement is a '1'). |  | n/a | n/a | n/a |  | n/a | n/a | n/a |  | n/a | n/a | n/a |  | n/a | n/a | n/a
[5 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | Division 22 - Plumbing |  |  |  | Division 23 - Mechanical |  |  |  | Division 25 - Controls / Integrated Automation Network Equipment |  |  |  | Division 26 - Electrical
[5 empty] | 2 | Like for Like Replacement | 2 | Like for Like Replacement | 2 | Like for Like Replacement | 2 | Like for Like Replacement | blank | 11 | n/a | n/a | n/a | 11 | n/a | n/a | n/a | 11 | n/a | n/a | n/a | 11 | n/a | n/a | n/a
[5 empty] | 3 | Controls Only | 3 | Controls Only | 3 | Controls Only | 3 | Controls Only | blank | 21 | n/a | n/a | n/a | 21 | n/a | n/a | n/a | 21 | n/a | n/a | n/a | 21 | n/a | n/a | n/a
[5 empty] | 4 | New System | 4 | New System | 4 | New System | 4 | New System | blank | 31 | n/a | n/a | n/a | 31 | n/a | n/a | n/a | 31 | n/a | n/a | n/a | 31 | n/a | n/a | n/a
[13 empty] | blank | 41 | n/a | n/a | n/a | 41 | n/a | n/a | n/a | 41 | n/a | n/a | n/a | 41 | n/a | n/a | n/a
[13 empty] | blank | 51 | n/a | n/a | n/a | 51 | n/a | n/a | n/a | 51 | n/a | n/a | n/a | 51 | n/a | n/a | n/a
[13 empty] | blank | 61 | n/a | n/a | n/a | 61 | n/a | n/a | n/a | 61 | n/a | n/a | n/a | 61 | n/a | n/a | n/a
[5 empty] | 11 |  | 11 |  | 11 |  | 11 |  | Controls Only | 23 | No | No | n/a | 23 | Yes, Limited | No | n/a | 23 | Yes, Limited | No | n/a | 23 | Yes, Limited | No | n/a
[13 empty] | Controls Only | 33 | No | No | n/a | 33 | Yes | Yes | n/a | 33 | Yes | Yes | n/a | 33 | Yes | Yes | n/a
[13 empty] | Controls Only | 43 | No | No | n/a | 43 | Yes | Yes | n/a | 43 | Yes | Yes | n/a | 43 | Yes | Yes | n/a
[13 empty] | Controls Only | 53 | No | No | n/a | 53 | Yes | Yes | n/a | 53 | Yes | Yes | n/a | 53 | Yes | Yes | n/a
[13 empty] | Controls Only | 63 | No | No | n/a | 63 | Yes | Yes | n/a | 63 | Yes | Yes | n/a | 63 | Yes | Yes | n/a
[13 empty] | Non-Critical, Equipment Replacement (Like for Like Replacement) | 22 | No | No | n/a | 22 | No | No | n/a | 22 | n/a | n/a | n/a | 22 | No | No | n/a
[13 empty] | Non-Critical, Equipment Replacement (Like for Like Replacement) | 32 | Yes, Limited | No | Recommend pre-design and post-construction TAB, if applicable | 32 | No | No | n/a | 32 | n/a | n/a | n/a | 32 | Yes, Limited | No | n/a
[13 empty] | Non-Critical, Equipment Replacement (Like for Like Replacement) | 42 | Yes | No | Recommend pre-design and post-construction TAB, if applicable | 42 | Yes, Limited | No | Recommend pre-design and post-construction TAB, if applicable | 42 | n/a | n/a | n/a | 42 | Yes, Limited | No | n/a
[13 empty] | Non-Critical, Equipment Replacement (Like for Like Replacement) | 52 | Yes | No | Recommend pre-design and post-construction TAB, if applicable | 52 | Yes | No | Recommend pre-design and post-construction TAB, if applicable | 52 | n/a | n/a | n/a | 52 | Yes | No | n/a
[13 empty] | Non-Critical, Equipment Replacement (Like for Like Replacement) | 62 | Yes | Yes | n/a | 62 | Yes | Yes | n/a | 62 | n/a | n/a | n/a | 62 | Yes | Yes | n/a
[13 empty] | Non-Critical, New System | 24 | No | No | n/a | 24 | No | No | n/a | 24 | n/a | n/a | n/a | 24 | No | No | n/a
[13 empty] | Non-Critical, New System | 34 | Yes, Limited | No | n/a | 34 | No | No | n/a | 34 | n/a | n/a | n/a | 34 | Yes, Limited | No | n/a
[13 empty] | Non-Critical, New System | 44 | Yes | No | n/a | 44 | Yes, Limited | No | n/a | 44 | n/a | n/a | n/a | 44 | Yes | No | n/a
[13 empty] | Non-Critical, New System | 54 | Yes | Yes | n/a | 54 | Yes | No | n/a | 54 | n/a | n/a | n/a | 54 | Yes | Yes | n/a
[13 empty] | Non-Critical, New System | 64 | Yes | Yes | n/a | 64 | Yes | Yes | n/a | 64 | n/a | n/a | n/a | 64 | Yes | Yes | n/a
Division 22 - Plumbing
Division 23 - Mechanical
Division 25 - Controls / Integrated Automation Network Equipment
Division 26 - Electrical
Division 27 - Communications *Not typically commissioned by CxA
Division 28 - Electronic Safety and Security Fire Alarm *Not typically commissioned by CxA
reminder!
editing or changing the dropdowns in this section will impact what is shown in the Commissiong Threshold section of the Matrix Tab.
Note on J6: Gillund, Tony: note 6-23-21 these numbers populate from the dropdown options for Cx

## Scorecard
INSTRUCTIONS: The green highlighed cells shall be completed by the university sustainability team in collaboration with the Project Manager at the end of the project.
Project Sustainability Scorecard
Project Name:
Project Number:
Project Manager: Facilities Operations and Development
Project Type: Repairs or Alterations
Date
note: used for conditional formatting
Section | Sustainability Requirement | Requirement Completed | Notes
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
0 | 0 |  |  | yes | yes | yes | 3
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | no | no |  | 0
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3
|  |  |  | yes | yes | yes | 3

## ScorecardTABLE (hidden)
|  | Active |  |  |  |  | Dropdown list
Yes
|  |  | remove or find out how to tie to the earlier checklists |  |  |  | Partial
No
n/a
Variance
| Title | 0 | Category: Commissioning and Sustainability Review |  | FALSE |  | Waiver |  |  | PREVIOUSLY these wscorecard items were WRITTEN AS:
Remove - but definitely something we want to track |  | IF(I9=TRUE,MAX(D$1:D8)+1,0) | Basic Service(s): completed | 18 20 40.1 | FALSE |  |  | #VALUE! | #VALUE!
could be integrated based on response from checklists |  | 0 | Confirmed Energy Model | 18 20 50.1 | FALSE |  |  | NA | NA | Additional Service: confirmed Energy Model
could be integrated based on response from checklists |  | 0 | Confirmed Water Model | 18 20 50.2 | FALSE |  |  | NA | NA | Additional Service: confirmed Water Model
covered in cx report? |  | IF(I12=TRUE,MAX(D$1:D11)+1,0) | Additional Service: confirmed background sound levels | 18 20 50.3.1 | FALSE |  |  | #VALUE! | #VALUE! | Additional Service: confirmed background sound levels
covered in cx report? |  | IF(I13=TRUE,MAX(D$1:D12)+1,0) | Additional Service: confirmed lighting levels | 18 20 50.3.2 | FALSE |  |  | #VALUE! | #VALUE! | Additional Service: confirmed lighting levels
could be integrated based on response from checklists |  | 0 | Confirmed LCCA(s) for Energy Systems, Water Systems, and/or Materials Selection | 18 20 50.4 | FALSE | Correct checkbox? |  | NA | NA | Additional Service: confirmed LCCA(s)
| Title | 0 | Category: Energy Efficiency |  | FALSE
variance would be needed not to… so should be able to say 'YES' for any project that has completed this SAM |  | 0 | Complied with ASHRAE 90.1 - 2016 Energy Standards | 18 30 20.1 | FALSE |  |  | NA | NA
|  | 0 | Energy Use Intensity (EUI) final design meets/exceeds BDS target | 18 30 40 | FALSE |  |  | NA | NA
has to be back end… no information in the SAM to resolve this right? |  | 0 | Energy System proves to be Life-Cycle Cost Effective | 18 30 40.4 | FALSE |  |  | NA | NA
| Title | 0 | Category: Water Use Efficiency |  | FALSE |  |  |  |  | Category: Water Use Efficiency
|  | 0 | Landscape Design: >= 60% planted area native and adaptive plants | 18 40 30.1 | FALSE |  |  | NA | NA | Landscape Design: >= 60% planted area native and adaptive plants
|  | 0 | Irrigation Water: max of 1/3 improved area connected to potable water | 18 40 30.2 | FALSE | note: same causes True |  | NA | NA | Irrigation Water: max of 1/3 improved area connected to potable water
|  | 0 | Irrigation Controls: meet USEPA's WaterSense requirements | 18 40 30.2.3 | FALSE |  |  | NA | NA | Irrigation Controls: meet USEPA's WaterSense requirements
|  | 0 | Plumbing Fixtures and Fittings: meet USEPA's WaterSense requirements | 18 40 40.1 | FALSE |  |  | NA | NA | Plumbing Fixtures and Fittings: meet USEPA's WaterSense requirements
|  | 0 | Appliances Water Requirement: comply with ENERGY STAR® requirements | 18 40 40.2 | FALSE |  |  | NA | NA | Appliances Water Requirement: comply with ENERGY STAR® requirements
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | HVAC System & Equipment: water use and discharge | 18 40 40.3 | FALSE |  |  | NA | NA | HVAC System & Equipment: water use and discharge
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | Roofs: potable water prohibited for roof spray systems | 18 40 40.4 | IF('MATRIX TABLE'!B31>0,TRUE) |  |  | NA | NA | Roofs: potable water prohibited for roof spray systems
|  | 0 | Commercial Food Service Operations: meet water efficiencies | 18 40 40.5 | FALSE |  |  | NA | NA | Commercial Food Service Operations: meet water efficiencies
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | WMC and Laboratory/Research Facility requirements met | 18 40 40.6 | FALSE |  |  | NA | NA | WMC and Laboratory/Research Facility
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | Special Water Features: ornamental fountain equipment and water source | 18 40 40.7 | FALSE |  |  | NA | NA | Special Water Features: ornamental fountain equipment and water source
not needed here as it is required for all new projects anyways |  | IF(I32=TRUE,MAX(D$1:D31)+1,0) | Water Utility Metering | 18 40 40.8 |  |  |  | #VALUE! | #VALUE! | Water Utility Metering
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | Water Softeners: demand-initiated regeneration controls & efficiency requirements | 18 40 40.9 | FALSE |  |  | NA | NA | Water Softeners: demand-initiated regeneration controls & efficiency requirements
what we really want to know is if water was saved or used efficiently, not necessariy if this specific requirement was met |  | 0 | Reverse Osmosis Water Treatment Systems requirements met | 18 40 40.10 | FALSE |  |  | NA | NA | Reverse Osmosis Water Treatment Systems
|  | 0 | Water Use Intesity (WUI) final design meets/exceeds BDS target | 18 40 40.11 | FALSE |  |  | NA | NA | Water Use Intesity (WUI) Target
removed as we willl typically not be doing LCCA for water systems |  | 0 | Water System proves to be Life-Cycle Cost Effective | 18 40 50 | FALSE |  |  | NA | NA | Water System proves to be Life-Cycle Cost Effective
| Title | 0 | Category: Ecosystem Services |  | FALSE | note: The MATRIX TABLE has more than one item for the checklists: ESA and "Consult University LA"…. We do not have a scorecard item for "conult u LA" |  |  |  | Category: Ecosystem Services
|  | 0 | Ecosystem Services improved on site | 18 50 30 | FALSE |  |  | NA | NA | Improve Ecosystem Services
0
| Title | 0 | Category: Materials |  | FALSE |  |  |  |  | Category: Materials
|  | 0 | Sustainable Value of Materials requirements met | 18 60 30 | FALSE |  |  | NA | NA | Material Sourcing
|  | 0 | Materials proves to be Life-Cycle Cost Effective | 18 60 30.1 | FALSE | note: this order is slightly different than the order of the text in the MATRIX TABLE tab |  | NA | NA | Materials proves to be Life-Cycle Cost Effective
not needed as we would have this identified through downloading> |  | 0 | Construction Waste Management Plan completed | 18 60 40.1 | FALSE |  |  | NA | NA | Construction Waste Management Plan completed
|  | 0 | Construction & Demolition Waste Diversion Threshold completed | 18 60 40.2 | FALSE |  |  | NA | NA | Construction & Demolition Waste Diversion Threshold achieved
not needed as we would have this identified through downloading> |  | 0 | Materials Management Plan completed | 18 60 50 | FALSE |  |  | NA | NA | Materials Management Plan completed
0
| Title | 0 | Category: User Experience |  | FALSE |  |  |  |  | Category: User Experience
how to put this on the back tracking piece? WHERE IS THIS INFORMATION FOUND??? If it is on drawings, how to pull it? |  | 0 | Ventilation and Indoor Air Quality met | 18 70 30.1 | FALSE |  |  | NA | NA | Ventilation and Indoor Air Quality
couldn’t this be found in the back tracking? |  | 0 | Indoor Air Quality Management Plan completed | 18 70 30.2 | FALSE |  |  | NA | NA | Indoor Air Quality Management Plan
|  | 0 | Indoor Air Quality Testing met | 18 70 30.3 | FALSE |  |  | NA | NA | Indoor Air Quality Testing
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I52=TRUE,MAX(D$1:D51)+1,0) | Building Entrance Design & Indoor Air Quality | 18 70 30.4 | FALSE |  |  | #VALUE! | #VALUE! | Building Entrance Design & Indoor Air Quality
|  | 0 | Interior Materials and Finishes emissions met | 18 70 30.5 | FALSE |  |  | NA | NA | Interior Materials and Finishes emissions
|  | 0 | Thermal Comfort standards met | 18 70 40 | FALSE |  |  | NA | NA | Thermal Comfort
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I55=TRUE,MAX(D$1:D54)+1,0) | Acoustical Performance | 18 70 50 | FALSE | note: ttwo items relate to the Acoustic in the MATRIX TABLE tab |  | #VALUE! | #VALUE! | Acoustical Performance
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I56=TRUE,MAX(D$1:D55)+1,0) | Equipment Vibration | 18 70 55 | FALSE |  |  | #VALUE! | #VALUE! | Equipment Vibration
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | 0 | Spatial Daylight Autonomy met | 18 70 60.1 | FALSE | note: all relate to the Daylighting and Lighting Quality info in the MATRIX TABLE tab |  | NA | NA | Spatial Daylight Autonomy
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I58=TRUE,MAX(D$1:D57)+1,0) | Lighting Levels | 18 70 60.2 | FALSE |  |  | #VALUE! | #VALUE! | Lighting Levels
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I59=TRUE,MAX(D$1:D58)+1,0) | Controls and Task Lighting | 18 70 60.3 | FALSE |  |  | #VALUE! | #VALUE! | Controls and Task Lighting
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I60=TRUE,MAX(D$1:D59)+1,0) | Exterior Lighting | 18 70 60.4 | FALSE |  |  | #VALUE! | #VALUE! | Exterior Lighting
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | IF(I61=TRUE,MAX(D$1:D60)+1,0) | Correlated Color Temperature (CCT) | 18 70 60.5 | FALSE |  |  | #VALUE! | #VALUE! | Correlated Color Temperature (CCT)
what we really want to know is if user experience is good, not necessariy if this specific requirement was met |  | 0 | Connection to Nature completed | 18 70 70 | FALSE |  |  | NA | NA | Connection to Nature
0
| Title | IF(OR($I64=TRUE),MAX(D$3:D63)+1,0) | Category: Life-Cycle Cost Analysis |  | FALSE | note: the formula in this is slightly different than the other section headers |  |  |  | Category: Life-Cycle Cost Analysis
this is a requirement that I don’t think we need to track here…...info is not available in SAM and is likely to be a more complicated process |  | IF(I65=TRUE,MAX(D$1:D64)+1,0) | LCCA used to compare Energy system alternatives | 18 80 30 | FALSE | note: each of these cells relates to something different in the MATRIX TABLE tab |  | #VALUE! | #VALUE! | LCCA used to compare Energy system alternatives
|  | IF(I66=TRUE,MAX(D$1:D65)+1,0) | LCCA used to compare Water system alternatives | 18 80 30 | FALSE |  |  | #VALUE! | #VALUE! | LCCA used to compare Water system alternatives
|  | IF(I67=TRUE,MAX(D$1:D66)+1,0) | LCCA used to compare Material selection alternatives | 18 80 30 | FALSE |  |  | #VALUE! | #VALUE! | LCCA used to compare Material selection alternatives
|  | IF(I68=TRUE,MAX(D$1:D67)+1,0) | LCCA for Total Cost of Ownership for Energy System | 18 80 30 | FALSE |  |  | #VALUE! | #VALUE! | LCCA for Total Cost of Ownership for Energy System
|  | IF(I69=TRUE,MAX(D$1:D68)+1,0) | LCCA for Total Cost of Ownership for Water System | 18 80 30 | FALSE |  |  | #VALUE! | #VALUE! | LCCA for Total Cost of Ownership for Water System
|  | IF(I70=TRUE,MAX(D$1:D69)+1,0) | LCCA for Total Cost of Ownership for Material selection | 18 80 30 | FALSE |  |  | #VALUE! | #VALUE! | LCCA for Total Cost of Ownership for Material selection
|  | 1 |  |  | TRUE
|  | 2 |  |  | TRUE
|  | 3 |  |  | TRUE
|  | 4 |  |  | TRUE
|  | 5 |  |  | TRUE
|  | 6 |  |  | TRUE
|  | 7 |  |  | TRUE
|  | 8 |  |  | TRUE
|  | 9 |  |  | TRUE
|  | 10 |  |  | TRUE
|  | 11 |  |  | TRUE
|  | 12 |  |  | TRUE
|  | 13 |  |  | TRUE
|  | 14 |  |  | TRUE
|  | 15 |  |  | TRUE
|  | 16 |  |  | TRUE
|  | 17 |  |  | TRUE
|  | 18 |  |  | TRUE
|  | 19 |  |  | TRUE
|  | 20 |  |  | TRUE
|  | 21 |  |  | TRUE
|  | 22 |  |  | TRUE
|  | 23 |  |  | TRUE
|  | 24 |  |  | TRUE
|  | 25 |  |  | TRUE
|  | 26 |  |  | TRUE
|  | 27 |  |  | TRUE
|  | 28 |  |  | TRUE
|  | 29 |  |  | TRUE
|  | 30 |  |  | TRUE
|  | 31 |  |  | TRUE
|  | 32 |  |  | TRUE
|  | 33 |  |  | TRUE
|  | 34 |  |  | TRUE
|  | 35 |  |  | TRUE
|  | 36 |  |  | TRUE
|  | 37 |  |  | TRUE
|  | 38 |  |  | TRUE
|  | 39 |  |  | TRUE
|  | 40 |  |  | TRUE
|  | 41 |  |  | TRUE
|  | 42 |  |  | TRUE
|  | 43 |  |  | TRUE
|  | 44 |  |  | TRUE
|  | 45 |  |  | TRUE
|  | 46 |  |  | TRUE
|  | 47 |  |  | TRUE
|  | 48 |  |  | TRUE
|  | 49 |  |  | TRUE
|  | 50 |  |  | TRUE
|  | 51 |  |  | TRUE
|  | 52 |  |  | TRUE
|  | 53 |  |  | TRUE
|  | 54 |  |  | TRUE
|  | 55 |  |  | TRUE
|  | 56 |  |  | TRUE
|  | 57 |  |  | TRUE
|  | 58 |  |  | TRUE
|  | 59 |  |  | TRUE
|  | 60 |  |  | TRUE
|  | 61 |  |  | TRUE
|  | 62 |  |  | TRUE
|  | 63 |  |  | TRUE
|  | 64 |  |  | TRUE
|  | 65 |  |  | TRUE
|  | 66 |  |  | TRUE
|  | 67 |  |  | TRUE
|  | 68 |  |  | TRUE
|  | 69 |  |  | TRUE
|  | 70 |  |  | TRUE
|  | 71 |  |  | TRUE
|  | 72 |  |  | TRUE
|  | 73 |  |  | TRUE
|  | 74 |  |  | TRUE

## Pre-Design TABLE (hidden)
General |  |  |  |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold | Matrix Check Boxes & Notes | Completed? | Notes
| 1 | General | 00 00 17.1.1 | Submit updated Sustainability Applicability Matrix (SAM) through eBuilder |  |  |  | FALSE | FALSE | FALSE | TRUE | 0 | 0 | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder | A/E |  |  | FALSE | FALSE | FALSE | TRUE | 0 |  | TBD | BLANK
|  |  | 00 00 17.1.3.1 | Sustainability Charrette complete |  |  |  | FALSE | FALSE | FALSE | FALSE | 4000000 |  | NA | NA
|  |  | 00 00 17.1.3 | Project Sustainability Stakeholder Group identified | A/E |  |  | FALSE | FALSE | FALSE | FALSE | 4000000 |  | NA | NA
|  |  | 00 00 17.1.4 | Sustainability Charrette Narrative complete | A/E |  |  | FALSE | FALSE | FALSE | FALSE | 4000000 |  | NA | NA
|  |  | 00 00 17.1.4.3 | Project Sustainability Stakeholder Group meeting frequency established | A/E |  |  | FALSE | FALSE | FALSE | FALSE | 4000000 |  | NA | NA
Cx & Sus. Services | 3
|  | Cx & Sus. Services | 00 00 17.1.6 | CxA under contract | [6 empty] | TRUE | 0 | OR('MATRIX TABLE'!R5=4,AND('Project Information'!$D$21>=M9,OR('MATRIX TABLE'!B5:B7>0))) | NA | NA
Energy
|  |  | 18 30 20 | Project follows ASHRAE 90.1-2016 Mandatory Standards |  |  |  | FALSE | FALSE | FALSE | TRUE | 0 |  | NA | NA
|  |  | 00 00 17.1.4.2 | Site EUI Target set during Sustainability Charette | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
|  |  | 18 30 40.3 | District Utilities Conversion Factors discussed during Sustainability Charrette | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
|  |  | 18 30 40 | All parties from Project Sustainability Stakeholder Group agree on Site EUI Target |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
Water
|  |  | 18 40 40.11 | Site WUI Target set at during Sustainability Charette | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
|  |  | 18 40 40.11 | All parties from Project Sustainability Stakeholder Group agree on Site WUI Target |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
Ecosystem Services
| IF(OR($I19:$L19=TRUE),MAX(B$1:B18)+1,"") | Ecosystem Services | 18 50 30 | Contacted the university Ecosystem Services Team for existing ESA info | [6 empty] | FALSE | 250000 | Exterior Site Impact
Materials
User Experience
Note on B19: Gillund, Tony: I "turned this off" as they don’t really have to do this anymore… we have illustrated how they should get the existing ESA info

## SD TABLE (hidden)
General |  |  |  |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold for Major Renovation | Matrix Check Boxes & Notes | Completed? | Notes
| 1 | General | 00 00 17.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder | [6 empty] | TRUE | 0 |  | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder | [6 empty] | TRUE | 0 |  | TBD | BLANK
| 3 | General | 00 00 17.1.3.5 | Basis of Design narrative delivered early in SD | [6 empty] | TRUE | 0 |  | TBD | BLANK
|  | General | 18 60 40 | CWM Plan provided with the BoD | [6 empty] | FALSE | 1000000 |  | NA | NA
|  | General | 00 00 17.1.3.2 | Complete Sustainability Workshop #1 shortly after SD begins | [6 empty] | FALSE | 4000000 |  | NA | NA
|  | General | 00 00 17.1.3.3 | Complete Sustainability Workshop #2 near the end of SD | [6 empty] | FALSE | 4000000 |  | NA | NA
Cx & SUS. REVIEW | 4
|  | Cx & SUS. REVIEW | 18 20 40.1 | Followed Exhibit B1 – Cx Supplemental Conditions to Exhibit B Article 2 | [9 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 40.2 | Followed Exhibit B2 – BECx Supplemental Conditions to Exhibit B Article 2 | [9 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 50.1 | Confirm assumptions, parameters, and output for energy modeling |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
|  | Cx & SUS. REVIEW | 18 20 50.2 | Confirm assumptions, parameters, and output for Water Use Intensity (WUI) calculation |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
ENERGY
|  | Energy | 18 30 40 | SD Energy Model completed |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA | 00 00 17.1.8.1
|  | Energy | 18 30 30 & 35 | Building Automation Shop consulted on BAS design requirements | [6 empty] | TRUE | 0 | Energy, Water systems | NA | NA | 00 00 17.1.8.2
|  | Energy | 18 80 00 | LCCAs completed to compare designs of energy systems |  | CxA |  |  |  |  | FALSE | 250000 |  | NA | NA | 00 00 17.1.8.3
WATER
|  | Water | 18 40 40.11 | SD Water Model completed |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA | 00 00 17.1.9.1
|  | Water | 18 80 00 | LCCAs completed to compare designs of water systems |  | CxA |  |  |  |  | FALSE | 250000 |  | NA | NA | 00 00 17.1.9.2 | IF(AND(OR($H19:$K19=TRUE),OR(Matrix!E36:E42=TRUE)),MAX(B$1:B18)+1,"")
ECOSYSTEM SERVICES
|  | ECOSYSTEM SERVICES | 18 50 30 | Ecosystems Services Assessment completed |  | EcoTeam |  |  |  |  | FALSE | 250000 | Exterior Site impact… box | NA | NA | 00 00 17.1.11
MATERIALS
|  | MATERIALS | 18 60 50 | Preliminary Materials Management (MM) Plan submited with POR | [6 empty] | FALSE | 0 | Recycling, Compost, Trash Collection | NA | NA | no in Div 00 at the SD phase
|  | MATERIALS | 18 60 30.1 | LCCA performed on materials options | [9 empty] | NA | NA | no Div 00
USER EXPERIENCE
|  | USER EXPERIENCE | 18 70 30.4 | Building Entrance requirements followed | [6 empty] | FALSE | 4000000 | Entr./Exit box | NA | NA | 00 00 17.1.12.1
|  | USER EXPERIENCE | 18 70 40 | Narrative of design thermal comfort strategies completed | [6 empty] | FALSE | 0 | HVAC box | NA | NA | 00 00 17.1.12.2
|  | USER EXPERIENCE | 00 00 17.1.12.3 | Acoustic Performance design approaches narrative completed | [6 empty] | FALSE | 0 | HVAC box | NA | NA | 00 00 17.1.12.3
|  | USER EXPERIENCE | 18 70 60 | Daylight levels evaluated | [6 empty] | FALSE | 4000000 | Lighting Indoor box | NA | NA | 00 00 17.1.12.4
|  | USER EXPERIENCE | 18 70 60 | Lighting Plan and narrative developed | [6 empty] | FALSE | 0 | Lighting indoor/outdoor box | NA | NA | 00 00 17.1.12.5
|  | USER EXPERIENCE | 18 70 70 | Narrative of the three (3) biophilic design strategies developed |  |  |  | FALSE | FALSE | FALSE |  | 250000 | Interior Mtls and Finishes checkbox | NA | NA | 00 00 17.1.12.6
Note on B5: Gillund, Tony: slightly different formula than those around it in order to make it workd

## DD TABLE (hidden)
General |  |  |  |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold for Major Renovation | Matrix Check Boxes & Notes | Completed? | Notes
| 1 | General | 00 00 18.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | PM | [5 empty] | TRUE | 0 |  | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) | [6 empty] | TRUE | 0 |  | TBD | BLANK
|  | General | 00 00 18.1.8 | Complete Sustainability Workshop #3 at 50% DD | [6 empty] | FALSE | 4000000 |  | NA | NA
Cx & SUS. REVIEW | 3
|  | Cx & SUS. REVIEW | 18 20 40.1 | Followed Exhibit B1 – Cx Supplemental Conditions to Exhibit B Article 2 | CxA | [8 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 40.2 | Followed Exhibit B2 – BECx Supplemental Conditions to Exhibit B Article 2 | CxA | [8 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 50.1 | Confirm assumptions, parameters, and output for updated energy model | CxA |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA | 00 00 18.1.2.1
|  | Cx & SUS. REVIEW | 18 20 50.2 | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation |  |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA
ENERGY
|  | ENERGY | 18 30 40 | Energy Model updated | A/E |  |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA | 00 00 18.1.3.1
|  | ENERGY | 18 80 00 | LCCAs completed to compare designs of energy systems | A/E | CxA |  |  |  |  | FALSE | 250000 |  | NA | NA | 00 00 18.1.3.2
WATER
|  | WATER | 18 40 40.11 | Water Model updated | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  | NA | NA | 00 00 18.1.4.1
|  | WATER | 18 80 00 | LCCAs completed to compare designs of water systems | [6 empty] | FALSE | 250000 |  | NA | NA | 00 00 18.1.4.2
ECOSYSTEM SERVICES
|  | ECOSYSTEM SERVICES | 18 50 30 | Ecosystems Services Assessment updated | A/E | EcoTeam |  |  |  |  | FALSE | 250000 | Exterior Site Work | NA | NA | 00 00 18.1.6
MATERIALS
|  | MATERIALS | 18 60 30 | Provide intital Sustainable Materials Calculator | A/E | [5 empty] | FALSE | 4000000 |  | NA | NA | 00 00 18.1.5.1
|  | MATERIALS | 18 60 30 | Prescriptive Materials Matrix followed for applicable CSI Divisions | A/E | [5 empty] | TRUE | 4000000 |  | NA | NA | no Div 00
|  | MATERIALS | 18 60 50 | MM Plan updated | A/E | [5 empty] | TRUE | 0 | Recycling, Compost, Trash Collection | NA | NA | 00 00 18.1.5.2
|  | MATERIALS | 18 60 30.1 | LCCA updated for materials options (if applicable) | [9 empty] | NA | NA
USER EXPERIENCE
|  | USER EXPERIENCE | 18 70 30 | Perform ventilation calculations per space type | A/E | [5 empty] | FALSE | 0 | HVAC | NA | NA | 00 00 18.1.7.1
|  | USER EXPERIENCE | 18 70 40 | Complete CBE Thermal Comfort Tool for analysis | A/E | [5 empty] | FALSE | 0 | HVAC | NA | NA | 00 00 18.1.7.2
|  | USER EXPERIENCE | 18 70 60 | Provide updated evaluation of daylight levels | A/E | [5 empty] | FALSE | 4000000 | Interior Lighting | NA | NA | 00 00 18.1.7.3
|  | USER EXPERIENCE | 18 70 60 | Provide updated Lighting Plan and design narrative | A/E | [5 empty] | FALSE | 0 | Interior or Exterior Lighting | NA | NA | 00 00 18.1.7.4
|  | USER EXPERIENCE | 18 70 70 | Updated narrative of the three (3) biophilic design strategies | A/E |  |  | FALSE | FALSE | FALSE |  | 250000 | Interior Mtls and Finishes checkbox | NA | NA | 00 00 18.1.7.5
Note on D3: Gillund, Tony: 6-18-2021 note: nothing in DD (in Div 00) that says to update OPR; thus I left the SD text in
Note on L20: Gillund, Tony: different formula

## CD TABLE (hidden)
General |  |  |  |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold for Major Renovation | Matrix Check Boxes & Notes |  | Completed? | Notes
| 1 | General | 00 00 19.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | PM | [5 empty] | TRUE | 0 |  |  | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) | [6 empty] | TRUE | 0 |  |  | TBD | BLANK
|  | General | 00 00 19.1.8 | Complete Sustainability Workshop #4 at 50% CDs (GC/DB projects) or GMP Documents (CMR projects) | [6 empty] | FALSE | 4000000 |  |  | NA | NA
Cx & SUS. REVIEW | 3
|  | Cx & SUS. REVIEW | 18 20 40.1 | Followed Exhibit B1 – Cx Supplemental Conditions to Exhibit B Article 2 | CxA |  |  | TRUE |  |  |  | 4000000 |  |  | NA | NA
|  | Cx & SUS. REVIEW | 18 20 40.2 | Followed Exhibit B2 – BECx Supplemental Conditions to Exhibit B Article 2 | CxA |  |  | FALSE | FALSE | FALSE |  | 250000 |  |  | NA | NA
|  | Cx & SUS. REVIEW | 00 00 19.1.2.1.4 | Confirm assumptions, parameters, and output for updated energy model | CxA |  |  | FALSE |  | FALSE |  | 4000000 |  |  | NA | NA
|  | Cx & SUS. REVIEW | 00 00 19.1.2.1.5 | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation |  |  |  | FALSE |  | FALSE |  | 4000000 |  |  | NA | NA
ENERGY
| IF(OR($I11:$L11=TRUE),MAX(B$1:B10)+1,"") | ENERGY | 00 00 19.1.3.1 | Performance Verification and Benchmarking | A/E |  |  | FALSE |  |  |  | 4000000 |  |  | #VALUE! | #VALUE!
|  | ENERGY | 18 30 40 | Energy Model updated | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  |  | NA | NA
|  | ENERGY | 18 80 00 | LCCAs completed to compare designs of energy systems | A/E | CxA |  |  |  |  | FALSE | 250000 |  |  | NA | NA
WATER
|  | WATER | 18 40 40.11 | Water Model updated | A/E | CxA |  | FALSE |  | FALSE |  | 4000000 |  |  | NA | NA
|  | WATER | 18 80 00 | LCCAs completed to compare designs of water systems | A/E | CxA |  |  |  |  | FALSE | 250000 |  |  | NA | NA
ECOSYSTEM SERVICES
|  | ECOSYSTEM SERVICES | 18 50 30 | Ecosystems Services Assessment updated (if applicable) | A/E | EcoTeam |  |  |  |  | FALSE | 250000 | Exterior Site Work | 00 00 19.1.6 | NA | NA
MATERIALS
|  | MATERIALS | 18 60 30 | Sustainable Materials Calculator updated by A/E | A/E | [5 empty] | FALSE | 4000000 |  | 00 00 19.1.5.3 | NA | NA
|  | MATERIALS | 18 60 30 | Prescriptive Materials Matrix deliverables updated for applicable CSI Divisions | [6 empty] | TRUE | 4000000 |  |  | NA | NA
|  | MATERIALS | 18 60 30 | Once updated, Sustainable Materials Calculator turned over to Construction Manager/Design-Builder | [6 empty] | FALSE | 4000000 |  | 00 00 19.1.5.3 | NA | NA
|  | MATERIALS | 18 60 40.1 | CWM Plan created | GC | RRS |  |  |  |  | FALSE | 1000000 | [old text] CWM Plan submitted to recycle@osu.edu | 00 00 19.1.5.1 | NA | NA
|  | MATERIALS | 18 60 40.2 | Construction Manager/Design-Builder shall complete the C&D tracking spreadsheet | GC | RRS |  |  |  |  | FALSE | 1000000 | [old text] Construction and Demolition spreadsheet shared with General Contractor | 00 00 19.1.5.2 | NA | NA
|  | MATERIALS | 18 60 50 | MM Plan updated | [6 empty] | FALSE | 0 | Recycling, Compost, Trash Collection | no in Div 00 at the SD phase | NA | NA
|  | MATERIALS | 18 60 30.1 | LCCA updated for materials options (if applicable) | [10 empty] | NA | NA
USER EXPERIENCE
|  | USER EXPERIENCE | 18 70 30 | Verify project complies with appropriate IAQ ASHRAE standard | A/E | [5 empty] | FALSE | 0 | HVAC | 00 00 19.1.7.1 | NA | NA
|  | USER EXPERIENCE | 18 70 30.5 | Verify low-emitting building materials and finishes used | A/E | [5 empty] | FALSE | 0 |  | 00 00 19.1.7.2 | NA | NA
|  | USER EXPERIENCE | 18 70 30.2 | Construction Manager/Design-Builder shall develop and implement IAQ Management Plan | GC | [5 empty] | FALSE | 0 |  | 00 00 19.1.7.3 | NA | NA
|  | USER EXPERIENCE | 18 70 40 | Ensure PMV levels | A/E | [5 empty] | FALSE | 0 |  | 00 00 19.1.7.5 | NA | NA
|  | USER EXPERIENCE | 18 70 40 | Ensure spaces at risk for discomfort have been addressed | A/E | [5 empty] | FALSE | 0 |  | 00 00 19.1.7.6 | NA | NA
|  | USER EXPERIENCE | 18 70 60 | A/E updated evaluation simulation output report of daylight levels (if applicable) | A/E | [5 empty] | FALSE | 4000000 | [old text] Perform daylight analysis | 00 00 19.1.7.7 | NA | NA
Note on B11: Gillund, Tony: this is a Cx related requirement. We have discussed having teams follow Exhibit B1 instead of calling out the steps here
Note on B20: Gillund, Tony: note 6-18-21, note the difference in the formula
Note on L21: Gillund, Tony: different formula
Note on B22: Gillund, Tony: note 6-18-21, note the difference in the formula
Note on B23: Gillund, Tony: note 6-18-21, note the difference in the formula
Note on B24: Gillund, Tony: note 6-18-21, note the difference in the formula

## Const. TABLE (hidden)
General |  |  |  |  | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold for Major Renovation | Matrix Check Boxes & Notes |  | Completed? | Notes
| 1 | General | 00 00 20.1.1 | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | PM | [5 empty] | TRUE | 0 |  |  | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) | [6 empty] | TRUE | 0 |  |  | TBD | BLANK
|  | General | 00 00 20.1.8 | Construction Kickoff Sustainability Meeting completed | [6 empty] | FALSE | 4000000 |  |  | NA | NA
Cx & SUS. REVIEW | 3
|  | Cx & SUS. REVIEW | 18 20 40.1 | Followed Exhibit B1 – Cx Supplemental Conditions to Exhibit B Article 2 | [10 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 40.2 | Followed Exhibit B2 – BECx Supplemental Conditions to Exhibit B Article 2 | [10 empty] | NA | NA
ENERGY
|  | ENERGY | 18 80 00 | LCCA for Total Cost of Ownership for energy systems complete | A/E | CxA |  |  |  |  | FALSE | 250000 |  |  | NA | NA
WATER
|  | WATER | 18 80 00 | LCCA for Total Cost of Ownership for water systems complete | A/E | CxA |  |  |  |  | FALSE | 250000 |  |  | NA | NA
MATERIALS
|  | MATERIALS | 18 60 30 | Sustainable Materials Calculator developed showing agreed upon buy-out targets | [6 empty] | FALSE | 4000000 |  | 00 00 20.1.5.1 | NA | NA
|  | MATERIALS | 18 60 30 | Final Sustainable Materials Calculator completed using as-built information | [6 empty] | FALSE | 4000000 |  | 00 00 20.1.5.2 | NA | NA
|  | MATERIALS | 18 60 30 | Prescriptive Materials Matrix deliverables developed showing agreed upon buy-out targets | [6 empty] | TRUE | 4000000 |  |  | NA | NA
|  | MATERIALS | 18 60 30 | Final Prescriptive Materials Matrix deliverables completed using as-built information | [6 empty] | TRUE | 4000000 |  |  | NA | NA
|  | MATERIALS | 18 60 40.2 | CWM Plan updated and Construction and Demolition Tracking spreadsheet completed | GC | RRS |  |  |  |  | FALSE | 1000000 | [old text] Construction and Demolition spreadsheet submited to recycle@osu.edu | 00 00 20.1.5 | NA | NA
|  | MATERIALS | 18 60 50 | MM Plan updated (if applicable) | [6 empty] | FALSE | 0 | Recycling, Compost, Trash Collection | no in Div 00 at the SD phase | NA | NA
ECOSYSTEM SERVICES
|  | ECOSYSTEM SERVICES | 18 50 30 | Ecosystems Services Assessment updated (if applicable) | A/E | EcoTeam |  |  |  |  | FALSE | 250000 | Exterior Site Work |  | NA | NA
USER EXPERIENCE
|  | USER EXPERIENCE | 18 70 30.3 | Minimum ventilation rates within -5% to +10% of min. design values | A/E | [5 empty] | FALSE | 0 |  | 00 00 20.1.7.3 | NA | NA
|  | USER EXPERIENCE | 18 70 60 | A/E updated evaluation simulation output report of daylight levels (if applicable) | A/E | [5 empty] | FALSE | 4000000 |  | 00 00 20.1.7.1 | NA | NA
|  | USER EXPERIENCE | 18 70 60 | Provide updated Lighting Plan and design narrative (if applicable) | A/E | [5 empty] | FALSE | 0 |  | 00 00 20.1.7.2 | NA | NA
Note on L15: Gillund, Tony: different formula

## Post Const. TABLE (hidden)
General |  |  |  | Close-out/Warranty Release/Performance Period up to 12 months post occupancy | Who Completes the Task | Task Reviewed by | Task Approved by | New Building | Major Renovation | Additions | All | Cost threshold for Major Renovation | Matrix Check Boxes & Notes | Completed? | Notes
| 1 | General | 00 00 21.1.1 | Submit update Sustainability Applicability Matrix (if applicable) | PM | [5 empty] | TRUE | 0 |  | TBD | BLANK
| 2 | General | 00 00 17.1.2 | Submit updated OPR through eBuilder (if applicable) | [6 empty] | TRUE | 0 |  | TBD | BLANK
|  | General | 00 00 21.1.4 | One month post construction, conduct a sustainability “debrief” with stakeholders | [6 empty] | FALSE | 4000000 |  | NA | NA
Cx & SUS. REVIEW | 3
|  | Cx & SUS. REVIEW | 18 20 40.1 | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | [9 empty] | NA | NA
|  | Cx & SUS. REVIEW | 18 20 40.2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | [9 empty] | NA | NA
ENERGY
|  | ENERGY | 00 00 21.1.3.1 | Calibrate Energy Model (if performance EUI is 10% above approved design EUI Target) |  |  |  | FALSE |  |  |  | 4000000 |  | NA | NA
WATER
WATER
MATERIALS
MATERIALS
|  | MATERIALS | 18 60 40.2 | CWM Plan and Construction and Demolition Tracking spreadsheet completed for closeout | GC | RRS |  |  |  |  | FALSE | 1000000
ECOSYSTEM SERVICES
ECOSYSTEM SERVICES
USER EXPERIENCE
USER EXPERIENCE

## Info to Export Matrix (hidden)
Project Number | Project Name | Brief Project Description | University Jurisdiction | Project Manager | Date | Total Project Cost | Type of Project | Prepared by | Laboratory/Research | Data Center | Food Service | Plumbing-Division Construction Cost | Plumbing-Scope of Work | Plumbing-Fundamental Commissioning | Plumbing-Enhanced Commissioning | Plumbing-Notes | Mechanical-Division Construction Cost | Mechanical-Scope of Work | Mechanical-Fundamental Commissioning | Mechanical-Enhanced Commissioning | Mechanical-Notes | Controls-Division Construction Cost | Controls-Scope of Work | Controls-Fundamental Commissionioing | Controls-Enhanced Commissioning | Controls-Notes | Electrical-Division Construction Cost | Electrical-Scope of Work | Electrical-Fundamental Commissionioing | Electrical-Enhanced Commissioning | Electrical-Notes | HVAC | Lighting (Indoor) | Lighting (Outdoor) | Electrical Equipment (e.g. motors or pumps) | Building Envelope | Water Heating | Power Systems | Site EUI | Landscape Design | Irrigation | Plumbing Fixtures and Fittings | Appliances | HVAC2 | Roof Spray Systems | Commercial Food Service Operations | Medical and Laboratory Facilities | Special Water Features | Water Softeners | Reverse Osmosis Water Treatments Systems | Water Use Intensity | Impact to outdoor landscape | Construction Materials | Construction Waste | Recycling, Compost, Trash Collection | HVAC3 | Lighting(Indoor)2 | Lighting(Outdoor)2 | Interior Materials and Finishes | Entrance/Exit Modifications
OSU- | 0 |  | Facilities Operations and Development |  |  | 10000 | Repairs or Alterations |  | FALSE | FALSE | FALSE |  |  | n/a | n/a | n/a |  |  | n/a | n/a | n/a |  |  | n/a | n/a | n/a |  |  | n/a | n/a | n/a | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Info to Export Checklist (hidden)
Project Number | 00 00 17.1.1 Submit update Sustainability Applicability Matrix through eBuilder | 00 00 17.1.2 Submit updated OPR through eBuilder (if applicable) | Consulted BAS regarding applicability of 18 30 30 Automated Demand Response | Consulted BAS regarding applicability of 18 30 35 Environmental Controls | Followed 18 30 20.1 - ASHRAE 90.1-2016, 5 Building Envelope | Followed 18 30 20.1 - ASHRAE 90.1-2016, 6 HVAC | Followed 18 30 20.1 - ASHRAE 90.1-2016, 7 Service Water Heating | Followed 18 30 20.1 - ASHRAE 90.1-2016, 8 Power | Followed 18 30 20.1 - ASHRAE 90.1-2016, 9 Lighting | Followed 18 30 20.1 - ASHRAE 90.1-2016, 10 Other Equipment | Followed 18 40 10.1 - Landscape Design | Followed 18 40 10.2 - Irrigation | Followed 18 40 20.1 - Plumbing Fixtures and Fittings | Followed 18 40 20.2 - Appliances | Followed 18 40 20.3 - HVAC Systems and Equipment | Followed 18 40 20.4 - Roof Spray & Vegetated Roofs | Followed 18 40 20.5 - Commercial Food Service Operations | Followed 18 40 20.6 - Medical and Laboratory Facilities | Followed 18 40 20.7 - Special Water Features | Followed 18 40 20.9 - Water Softeners | Followed 18 40 20.10 - Reverse Osmosis Water Treatment Systems | Consulted the University Landscape Architect on project early in design | Engaged appropriate group (from 18 60 50) regarding impacts to Materials Management | Provide a breif narrative on the methods to divert Construction & Demolition debris from the landfill | Followed 18 70 30.1 - Ventilation and IAQ Requirements | Followed 18 70 30.4 - Building Entrances | Followed 18 70 30.5 - Interior Materials and Finishes | Followed 18 70 40 - Thermal Comfort | Followed 18 70 50.1 - HVAC Background Noise Levels | Followed 18 70 50.2 - Sound Transmission Class and Reverberation | Followed 18 70 55 - Equipment Vibration Performance | Comply with lighting levels indicated in 18 70 60.2 | Comply with Control and Task Lighting standards as indicated in 18 70 60.3 | Comply with Correlated Color Temperature standards as indicated in 18 70 60.5 | Followed 18 70 60.4 - Exterior Lighting | Submit updated Sustainability Applicability Matrix (SAM) through eBuilder | Submit updated OPR through eBuilder | Sustainability Charrette complete | Project Sustainability Stakeholder Group identified | Sustainability Charrette Narrative complete | Project Sustainability Stakeholder Group meeting frequency established | CxA under contract | Project follows ASHRAE 90.1-2016 Mandatory Standards | Site EUI Target set during Sustainability Charette | District Utilities Conversion Factors discussed during Sustainability Charrette | All parties from Project Sustainability Stakeholder Group agree on Site EUI Target | Site WUI Target set at during Sustainability Charette | All parties from Project Sustainability Stakeholder Group agree on Site WUI Target | Submit updated Sustainability Applicability Matrix through eBuilder | Submit updated OPR through eBuilder | Basis of Design narrative delivered early in SD | CWM Plan provided with the BoD | Complete Sustainability Workshop #1 shortly after SD begins | Complete Sustainability Workshop #2 near the end of SD | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Confirm assumptions, parameters, and output for energy modeling | Confirm assumptions, parameters, and output for Water Use Intensity (WUI) calculation | SD Energy Model completed | Building Automation Shop consulted on BAS design requirements | LCCAs completed to compare designs of energy systems | SD Water Model completed | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment completed | Preliminary Materials Management (MM) Plan submited with POR | LCCA performed on materials options | Building Entrance requirements followed | Narrative of design thermal comfort strategies completed | Acoustic Performance design approaches narrative completed | Daylight levels evaluated | Lighting Plan and narrative developed | Narrative of the three (3) biophilic design strategies developed | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Complete Sustainability Workshop #3 at 50% DD | Confirm assumptions, parameters, and output for updated energy model | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Energy Model updated | LCCAs completed to compare designs of energy systems | Water Model updated | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment updated | Provide intital Sustainable Materials Calculator | Prescriptive Materials Matrix followed for applicable CSI Divisions | MM Plan updated | LCCA updated for materials options (if applicable) | Perform ventilation calculations per space type | Complete CBE Thermal Comfort Tool for analysis | Provide updated evaluation of daylight levels | Provide updated Lighting Plan and design narrative | Updated narrative of the three (3) biophilic design strategies | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Complete Sustainability Workshop #4 at 50% CDs (GC/DB projects) or GMP Documents (CMR projects) | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Confirm assumptions, parameters, and output for updated energy model | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation | Performance Verification and Benchmarking | Energy Model updated | LCCAs completed to compare designs of energy systems | Water Model updated | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment updated (if applicable) | Sustainable Materials Calculator updated by A/E | Prescriptive Materials Matrix deliverables updated for applicable CSI Divisions | Once updated, Sustainable Materials Calculator turned over to Construction Manager/Design-Builder | CWM Plan created | Construction Manager/Design-Builder shall complete the C&D tracking spreadsheet | MM Plan updated | LCCA updated for materials options (if applicable) | Verify project complies with appropriate IAQ ASHRAE standard | Verify low-emitting building materials and finishes used | Construction Manager/Design-Builder shall develop and implement IAQ Management Plan | Ensure PMV levels | Ensure spaces at risk for discomfort have been addressed | A/E updated evaluation simulation output report of daylight levels (if applicable) | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Construction Kickoff Sustainability Meeting completed | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | LCCA for Total Cost of Ownership for energy systems complete | LCCA for Total Cost of Ownership for water systems complete | Sustainable Materials Calculator developed showing agreed upon buy-out targets | Final Sustainable Materials Calculator completed using as-built information | Prescriptive Materials Matrix deliverables developed showing agreed upon buy-out targets | Final Prescriptive Materials Matrix deliverables completed using as-built information | CWM Plan updated and Construction and Demolition Tracking spreadsheet completed | MM Plan updated (if applicable) | Ecosystems Services Assessment updated (if applicable) | Minimum ventilation rates within -5% to +10% of min. design values | A/E updated evaluation simulation output report of daylight levels (if applicable) | Provide updated Lighting Plan and design narrative (if applicable) | Submit update Sustainability Applicability Matrix (if applicable) | Submit updated OPR through eBuilder (if applicable) | One month post construction, conduct a sustainability “debrief” with stakeholders | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Calibrate Energy Model (if performance EUI is 10% above approved design EUI Target)
OSU- | TBD | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | NA | NA | NA |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | NA | NA | NA | NA | NA | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | TBD | TBD | NA | NA | NA | NA
Note on D3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights
Note on E3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights

## Info to Export Checklist Notes (hidden)
Project Number | 00 00 17.1.1 Submit update Sustainability Applicability Matrix through eBuilder | 00 00 17.1.2 Submit updated OPR through eBuilder (if applicable) | Consulted BAS regarding applicability of 18 30 30 Automated Demand Response | Consulted BAS regarding applicability of 18 30 35 Environmental Controls | Followed 18 30 20.1 - ASHRAE 90.1-2016, 5 Building Envelope | Followed 18 30 20.1 - ASHRAE 90.1-2016, 6 HVAC | Followed 18 30 20.1 - ASHRAE 90.1-2016, 7 Service Water Heating | Followed 18 30 20.1 - ASHRAE 90.1-2016, 8 Power | Followed 18 30 20.1 - ASHRAE 90.1-2016, 9 Lighting | Followed 18 30 20.1 - ASHRAE 90.1-2016, 10 Other Equipment | Followed 18 40 10.1 - Landscape Design | Followed 18 40 10.2 - Irrigation | Followed 18 40 20.1 - Plumbing Fixtures and Fittings | Followed 18 40 20.2 - Appliances | Followed 18 40 20.3 - HVAC Systems and Equipment | Followed 18 40 20.4 - Roof Spray & Vegetated Roofs | Followed 18 40 20.5 - Commercial Food Service Operations | Followed 18 40 20.6 - Medical and Laboratory Facilities | Followed 18 40 20.7 - Special Water Features | Followed 18 40 20.9 - Water Softeners | Followed 18 40 20.10 - Reverse Osmosis Water Treatment Systems | Consulted the University Landscape Architect on project early in design | Engaged appropriate group (from 18 60 50) regarding impacts to Materials Management | Provide a breif narrative on the methods to divert Construction & Demolition debris from the landfill | Followed 18 70 30.1 - Ventilation and IAQ Requirements | Followed 18 70 30.4 - Building Entrances | Followed 18 70 30.5 - Interior Materials and Finishes | Followed 18 70 40 - Thermal Comfort | Followed 18 70 50.1 - HVAC Background Noise Levels | Followed 18 70 50.2 - Sound Transmission Class and Reverberation | Followed 18 70 55 - Equipment Vibration Performance | Comply with lighting levels indicated in 18 70 60.2 | Comply with Control and Task Lighting standards as indicated in 18 70 60.3 | Comply with Correlated Color Temperature standards as indicated in 18 70 60.5 | Followed 18 70 60.4 - Exterior Lighting | Submit updated Sustainability Applicability Matrix (SAM) through eBuilder | Submit updated OPR through eBuilder | Sustainability Charrette complete | Project Sustainability Stakeholder Group identified | Sustainability Charrette Narrative complete | Project Sustainability Stakeholder Group meeting frequency established | CxA under contract | Project follows ASHRAE 90.1-2016 Mandatory Standards | Site EUI Target set during Sustainability Charette | District Utilities Conversion Factors discussed during Sustainability Charrette | All parties from Project Sustainability Stakeholder Group agree on Site EUI Target | Site WUI Target set at during Sustainability Charette | All parties from Project Sustainability Stakeholder Group agree on Site WUI Target | Submit updated Sustainability Applicability Matrix through eBuilder | Submit updated OPR through eBuilder | Basis of Design narrative delivered early in SD | CWM Plan provided with the BoD | Complete Sustainability Workshop #1 shortly after SD begins | Complete Sustainability Workshop #2 near the end of SD | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Confirm assumptions, parameters, and output for energy modeling | Confirm assumptions, parameters, and output for Water Use Intensity (WUI) calculation | SD Energy Model completed | Building Automation Shop consulted on BAS design requirements | LCCAs completed to compare designs of energy systems | SD Water Model completed | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment completed | Preliminary Materials Management (MM) Plan submited with POR | LCCA performed on materials options | Building Entrance requirements followed | Narrative of design thermal comfort strategies completed | Acoustic Performance design approaches narrative completed | Daylight levels evaluated | Lighting Plan and narrative developed | Narrative of the three (3) biophilic design strategies developed | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Complete Sustainability Workshop #3 at 50% DD | Confirm assumptions, parameters, and output for updated energy model | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Energy Model updated | LCCAs completed to compare designs of energy systems | Water Model updated | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment updated | Provide intital Sustainable Materials Calculator | Prescriptive Materials Matrix followed for applicable CSI Divisions | MM Plan updated | LCCA updated for materials options (if applicable) | Perform ventilation calculations per space type | Complete CBE Thermal Comfort Tool for analysis | Provide updated evaluation of daylight levels | Provide updated Lighting Plan and design narrative | Updated narrative of the three (3) biophilic design strategies | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Complete Sustainability Workshop #4 at 50% CDs (GC/DB projects) or GMP Documents (CMR projects) | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Confirm assumptions, parameters, and output for updated energy model | Confirm assumptions, parameters, and output for updated Water Use Intensity (WUI) calculation | Performance Verification and Benchmarking | Energy Model updated | LCCAs completed to compare designs of energy systems | Water Model updated | LCCAs completed to compare designs of water systems | Ecosystems Services Assessment updated (if applicable) | Sustainable Materials Calculator updated by A/E | Prescriptive Materials Matrix deliverables updated for applicable CSI Divisions | Once updated, Sustainable Materials Calculator turned over to Construction Manager/Design-Builder | CWM Plan created | Construction Manager/Design-Builder shall complete the C&D tracking spreadsheet | MM Plan updated | LCCA updated for materials options (if applicable) | Verify project complies with appropriate IAQ ASHRAE standard | Verify low-emitting building materials and finishes used | Construction Manager/Design-Builder shall develop and implement IAQ Management Plan | Ensure PMV levels | Ensure spaces at risk for discomfort have been addressed | A/E updated evaluation simulation output report of daylight levels (if applicable) | Submit updated Sustainability Applicability Matrix through eBuilder (if applicable) | Submit updated OPR through eBuilder (if applicable) | Construction Kickoff Sustainability Meeting completed | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | LCCA for Total Cost of Ownership for energy systems complete | LCCA for Total Cost of Ownership for water systems complete | Sustainable Materials Calculator developed showing agreed upon buy-out targets | Final Sustainable Materials Calculator completed using as-built information | Prescriptive Materials Matrix deliverables developed showing agreed upon buy-out targets | Final Prescriptive Materials Matrix deliverables completed using as-built information | CWM Plan updated and Construction and Demolition Tracking spreadsheet completed | MM Plan updated (if applicable) | Ecosystems Services Assessment updated (if applicable) | Minimum ventilation rates within -5% to +10% of min. design values | A/E updated evaluation simulation output report of daylight levels (if applicable) | Provide updated Lighting Plan and design narrative (if applicable) | Submit update Sustainability Applicability Matrix (if applicable) | Submit updated OPR through eBuilder (if applicable) | One month post construction, conduct a sustainability “debrief” with stakeholders | Followed Exhibit B1 – Supplemental Conditions to Exhibit B Article 2 | Followed Exhibit B2 – Supplemental Conditions to Exhibit B Article 2 | Calibrate Energy Model (if performance EUI is 10% above approved design EUI Target)
OSU- | BLANK | BLANK | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | BLANK | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | NA | NA | NA |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | NA | NA | NA | NA | NA | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | BLANK | BLANK | NA | NA | NA | NA
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: previously a long answer was here: Consulted with project's respective Building Automation group on project during SD/early design to investigate applicability of Demand Response & Automatic Control of Zone Level Lights

## Info to Export Scorecard (hidden)
Project Number | Basic Service(s): completed | Additional Service: confirmed Energy Model | Additional Service: confirmed Water Model | Additional Service: confirmed background sound levels | Additional Service: confirmed lighting levels | Additional Service: confirmed LCCA(s) | Complied with ASHRAE 90.1 - 2016 Energy Standards | Energy Modeling & Energy Use Intensity (EUI) Site Target | Energy System proves to be Life-Cycle Cost Effective | Landscape Design: >= 60% planted area native and adaptive plants | Irrigation Water: max of 1/3 improved area connected to potable water | Irrigation Controls: meet USEPA's WaterSense requirements | Plumbing Fixtures and Fittings: meet USEPA's WaterSense requirements | Appliances Water Requirement: comply with ENERGY STAR® requirements | HVAC System & Equipment: water use and discharge | Roofs: potable water prohibited for roof spray systems | Commercial Food Service Operations: meet water efficiencies | WMC and Laboratory/Research Facility | Special Water Features: ornamental fountain equipment and water source | Water Utility Metering | Water Softeners: demand-initiated regeneration controls & efficiency requirements | Reverse Osmosis Water Treatment Systems | Water Use Intesity (WUI) Target | Water System proves to be Life-Cycle Cost Effective | Improve Ecosystem Services | Material Sourcing | Materials proves to be Life-Cycle Cost Effective | Construction Waste Management Plan completed | Construction & Demolition Waste Diversion Threshold achieved | Materials Management Plan completed | Ventilation and Indoor Air Quality | Indoor Air Quality Management Plan | Indoor Air Quality Testing | Building Entrance Design & Indoor Air Quality | Interior Materials and Finishes emissions | Thermal Comfort | Acoustical Performance | Equipment Vibration | Spatial Daylight Autonomy | Lighting Levels | Controls and Task Lighting | Exterior Lighting | Correlated Color Temperature (CCT) | Connection to Nature | LCCA used to compare Energy system alternatives | LCCA used to compare Water system alternatives | LCCA used to compare Material selection alternatives | LCCA for Total Cost of Ownership for Energy System | LCCA for Total Cost of Ownership for Water System | LCCA for Total Cost of Ownership for Material selection
OSU- | #VALUE! | NA | NA | #VALUE! | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | #VALUE! | NA | NA | #VALUE! | #VALUE! | NA | #VALUE! | #VALUE! | #VALUE! | #VALUE! | NA | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Info to Export Scorecard Notes (hidden)
Project Number | Basic Service(s): completed | Additional Service: confirmed Energy Model | Additional Service: confirmed Water Model | Additional Service: confirmed background sound levels | Additional Service: confirmed lighting levels | Additional Service: confirmed LCCA(s) | Complied with ASHRAE 90.1 - 2016 Energy Standards | Energy Modeling & Energy Use Intensity (EUI) Site Target | Energy System proves to be Life-Cycle Cost Effective | Landscape Design: >= 60% planted area native and adaptive plants | Irrigation Water: max of 1/3 improved area connected to potable water | Irrigation Controls: meet USEPA's WaterSense requirements | Plumbing Fixtures and Fittings: meet USEPA's WaterSense requirements | Appliances Water Requirement: comply with ENERGY STAR® requirements | HVAC System & Equipment: water use and discharge | Roofs: potable water prohibited for roof spray systems | Commercial Food Service Operations: meet water efficiencies | WMC and Laboratory/Research Facility | Special Water Features: ornamental fountain equipment and water source | Water Utility Metering | Water Softeners: demand-initiated regeneration controls & efficiency requirements | Reverse Osmosis Water Treatment Systems | Water Use Intesity (WUI) Target | Water System proves to be Life-Cycle Cost Effective | Improve Ecosystem Services | Material Sourcing | Materials proves to be Life-Cycle Cost Effective | Construction Waste Management Plan completed | Construction & Demolition Waste Diversion Threshold achieved | Materials Management Plan completed | Ventilation and Indoor Air Quality | Indoor Air Quality Management Plan | Indoor Air Quality Testing | Building Entrance Design & Indoor Air Quality | Interior Materials and Finishes emissions | Thermal Comfort | Acoustical Performance | Equipment Vibration | Spatial Daylight Autonomy | Lighting Levels | Controls and Task Lighting | Exterior Lighting | Correlated Color Temperature (CCT) | Connection to Nature | LCCA used to compare Energy system alternatives | LCCA used to compare Water system alternatives | LCCA used to compare Material selection alternatives | LCCA for Total Cost of Ownership for Energy System | LCCA for Total Cost of Ownership for Water System | LCCA for Total Cost of Ownership for Material selection
OSU- | #VALUE! | NA | NA | #VALUE! | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | #VALUE! | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | #VALUE! | NA | NA | #VALUE! | #VALUE! | NA | #VALUE! | #VALUE! | #VALUE! | #VALUE! | NA | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!