|  | Utilities Request Form (Schematic Design Stage) |
| --- | --- |

| Are critical business operations supported that require a “what if” analysis for loss of utility service?1 yes no | Design Phase |
| --- | --- |
|  | Schematic Design (SD) Design Development (DD) Construction Document (CD) |

| Ohio State Project | Project Manager | A/E |
| --- | --- | --- |
| Name | Name | Name |
| Project # | Office Phone | Cell Phone | Office Phone | Cell Phone |
| Bldg Name – Number – Sq.Ft. — — | Email | Email |

|  | Check all that Apply | Estimated Start Date | Calculated Peak Load |  |  |
| --- | --- | --- | --- | --- | --- |
| Construction or Temporary Service3 |
| Electric Service |  |  | kW |  | Circuit Pair |
| Natural Gas |  |  | BTU/HR |  |  |
| Domestic Cold Water (DCW) |  |  | GPM |  |  |
| Fire Hydrant (FH) Hose Connections |  |  | # |  | Fire Hydrant # |
| Permanent Service3 |
| New Primary Electric Service2 |  |  | kW |  | Circuit Pair |
| Existing Primary Electric Service2 |  |  | kW |  | Transformer |
| Natural Gas Service |  |  | BTU/HR |  |  |
| Campus Chilled Water Service |  |  | Tons |  | Chiller Plant |
| Campus Superheated Steam |  |  | BTU/HR |  |  |
| Domestic Cold Water (DCW) |  |  | GPM |  |  |
| Fire Hydrant (FH) |  |  | # |  |  |

Notes

1	Use “what if” analysis to determine requirements for back-up utility systems to maintain operations during loss of service.

2	Attach one-line diagram (designed by the A/E).

3	Complete appropriate attachment(s) for each requested utility service during Design Development (DD) phase.

Comments

| Name of Ohio State Project Manager | Signature Date |
| --- | --- |
| Name of Technical Director, Utilities | Signature Date |